| Enter Feeder Power Factor and Enter Feeder Route Length And Enter Feeder Peak Load should come before Enter No of Broken HT Poles |  |  |
| --- | --- | --- |
| Remove Switchyard Status |  |  |
| Enter Thermographic Camera Temperature (OC) |  |  |
| Remove |  |  |

|  | DTR ASSESSMENT |  |
| --- | --- | --- |
| Intermediate (Incomer) Cable Size (mm) |  |  |
| Remove Enter Joints Type Remove Enter No of Joints |  |  |
| Correct to Plinth Status not PLINTCH |  |  |
| When you Selelct BAD, Show a text box to show the no that is BAD |  |  |
| Add is Equipment Vandalised? | YES or NO |  |
| Add A column is YES to capture |  |  |
| Comments on Vandalized | Textbox to Add the Comments |  |
| Change the name to Network Assessments Injection Substation |  |  |

|  | INJECTION SUBSTATION |  |  |  |
| --- | --- | --- | --- | --- |
| Change to kV not KV or kv |  |  |  |  |
| Enter Injection Substation Loading Capacity(%) |  |  |  |  |
| Enter Injection Substation 11KV Incomer Total Load (MW) |  |  |  |  |
| This should be a Drop down for GOOD or BAD |  |  |  |  |
| Enter TF Temperature (OC) |  |  |  |  |
| Enter Switchyard Status – This should be a dropdown for GOOD or BAD |  |  |  |  |
| Enter Thermographic Camera Temperature (OC) |  |  |  |  |